# Highlights

Characterisation and Quantification of Data Centre Flexibility for Power System Support

An integrated model coordinates IT workloads, UPS batteries and cooling.

Flexibility is quantified by feasible power deviations and service durations.

Coordinated operation reduces annual electricity costs by 5.38%.

A 1 MW IT-rated site sustains a 100 kW load reduction for six hours at noon.

Workload flexibility has the largest savings effect among tested resources.