- Fix hyphens everywhere in text. I want many fewer hyphens, make the blue text consistent with the black text and remove unless absolutely necessary.

- Fix figure 2 so looks almost exactly like the original

- Legacy overhead power thing needs consideration. Seems like your referencing the old paper in a weird way which doesn’t really work.

- Need to clarfiy why cooling is cost optimised in scenario 1

- . In this study, a set of day-ahead spot electricity prices is utilised , and the annual price variation is represented directly, while resource sensitivities are evaluated in Section V-D. – can probably remove the first part of this and just mention the resource sensitivites.

- Actual prices for the first three hours of 1 January 2026 supply the final continuation; these intervals are outside 2025 settlement. “No terminal storage credit is imposed”. –what does this mean exactly.

- The event assessment uses the resulting operating trajectory; maybe this phrase is unnecessary

- Explain: Recovery work remains schedulable within its original execution windows; it is not all reclassified as inflexible.

- Check grammar, e.g spaces before commas and semi-colons

- Explain: The results are therefore certified feasible durations found by the search, with cap-reaching and unresolved-next-step cases identified separately

- The assessment uses 22 September 2025, selected by the smallest standardised distance to “twelve annual daily price,” demand, cost, utilisation and opening-state features among eligible 96-slot days. What does the twelve thing mean?

- Explain: The selected day illustrates state-dependent capability; it does not measure annual service availability

- Remove this? Annual observed prices replace the earlier separate price-volatility perturbation. Seeme like an odd reference to the previous version again maybe? Or something else, not sure exactly.

- Additional UPS savings are compared with annualised incremental investment, using a capital recovery factor; the main results give a compact screen and Supplementary Section S6 states its assumptions: compact screen? Funny term.

- A. Scenario 1 and 2 : Operating Profiles. Seems like a lot of explanation of the figures at the start. Maybe try and reduce. (results section start).

- Go through abstract in detail. I think this could be reduced in length substanially (250 words is the normal limit / standard).

- IT formulation has changed, why? Clarify this. If unnecessary go back to original. Need to take the time to understand all the changes well.

Green text edits:

Scenario 2 supplies the undisturbed trajectory for the event assessment. Change this to: Scenario 2 supplies the undisturbed trajectory from which flexibility is provided in Scenario 3.

During recovery, unfinished flexible work may be rescheduled within its remaining original execution window. Its deadline is unchanged – change full stop to ;